## Slide 1: Overview
Calculate Performance from Weather Measurements
  Use various softwares: SAM, bifacialVF/br+Pvlib, and PVSyst
  Explore different SR for albedometer and POA sensors, and different sensor locations effects
  Compare at middle point with measured field POA and then with Performance data
2) Calculate Performance from POA measurements
  Use various softwares: SAM, bifacialVF/br+Pvlib, and PVSyst
  Explore using GFront only, or Gfront+Grear from various sensors including different SR, locations, he Reference Module, and the Rotating Albedometer approach
Front Only POA
Hydra
Measured Front and Rear POA
Reference Module
HYDRA
Rotating Alb.
2) Performance comparison
CM11 Albedo
?
IMT Albedo
1) Irradiance Comparison (Middle step)
Uncertainties Distribution?
Rotating Alb.
CM11 Albedo
?
IMT Albedo
DHI + DNI
GHI
GHI
DHI + DNI
1) Performance Comparison (end step)
Measured Front and Rear POA

## Slide 2: Study suggestion:
1 year data from May 2021 to May 2022
  Many system interruptions starting May 22 for measurements.
  Only ~3.5 months of Rotating Albedometer (Method 3) data. Could use all the way to August
Select also sets of 3 days between Feb. 22 to May 22 to look closer at the comparison for ALL methods for ‘capacity testing’
  Choose 1 set of nice clear sky days, and 1 set that has funky snow.
Notes:
  Doing 3 days or doing 1 year is the same for most softwares; we run the full year and then single out into the chosen 3 day sets for plots or analysis.
    More data: better bias reduction, but more RMSE.
  Technically ~3 years of data available for 2 bifacial rows, and 1 monofacial string level comparison.
  Nov. 2020 one extra bifacial row added (total of 3 bifacial rows open data available)
  Spectrum Responsivity effects and ‘location’ of sensors effects can be evaluated and interpreted as ‘uncertainty’ for all the variations of methods.

## Slide 3
Combinations of Measurements and Modeling Steps

## Slide 4
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 0a
Compare to Measured
Performance

## Slide 5
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 0b
Compare to Measured
Performance

## Slide 6
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 1a
Compare to Measured
Performance

## Slide 7
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 1b
Compare to Measured
Performance

## Slide 8
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 1c
Measure Front POA
Compare to Measured
Performance

## Slide 9
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 2a
Measure Front POA
Compare to Measured
Performance

## Slide 10
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Compare to Measured
Performance
Method 2b
Measure Front POA
Measure Rear POA

## Slide 11
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 3?
Measure Front POA
Measure Rear POA
Compare to Measured
Performance
Rotating Albedometer

## Slide 12
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 4a
Measure Front POA
Measure Rear POA
Compare to Measured
Performance
Rotating Albedometer
Reference Module Rear Irradiance
Reference Module Front + Rear Irradiance (HYDRA)

## Slide 13
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Model Front Irradiance
Model Rear Irradiance
Model Performance
Method 4b
Measure Front POA
Measure Rear POA
Compare to Measured
Performance
Rotating Albedometer
Reference Module Rear Irradiance
Reference Module Front + Rear Irradiance (HYDRA)

## Slide 14
TMY
Performance
SAM MODEL OUTPUTS:
MEASURED DATA
POA front
POA
rear
Regression
Performance
POA front
Correct Performance
F(POA, Tmod)
Method 1
Method 2
Method 1
Getting Regression coefficients
Getting Regression
Coefficients
POA front
POA
rear
Method 1
Method 2
MEASURED DATA
Regression
Reporting Conditions
POA front
POA
rear
Method 1
Method 2
Reporting Conditions
REAL ASTM
METHOD ONE FOR IEC
Result Expected
Result Measured
Tamb
Performance
Alb
DNI
DHI
Mod Temp
Tmod
Notes: Method 1 Assumes albedo is same when you generate regression for expected and regression for measured conditions
Method 1 considers albedo is same when you generate regression for expected and regression for measured conditions by filtering for albedo inputs
Model output for POA rear – that is part of the regression. When you have

## Slide 15
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Performance
SAM MODEL OUTPUTS:
MEASURED DATA
POA front
POA
rear
Regression
Performance
POA front + rear
Method 1
Method 2
Method 2
Getting Regression coefficients
Getting Regression
Coefficients
POA front
POA
rear
Method 1
Method 2
MEASURED DATA
Regression
Reporting Conditions
METHOD TWO FOR ASTM
METHOD TWO FOR IEC
Result Expected
Result Measured
Tmod
Correct Performance
Reporting Conditions
Performance
Tmod
Notes: Method 1 Assumes albedo is same when you generate regression for expected and regression for measured conditions
Method 1 considers albedo is same when you generate regression for expected and regression for measured conditions by filtering for albedo inputs
Model output for POA rear – that is part of the regression. When you have

## Slide 16
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Performance
SAM MODEL OUTPUTS:
MEASURED DATA
POA front
POA
rear
Regression
Performance
POA front
Correct Performance
F(POA, Tmod)
Method 1
Method 2
Method 1
Getting Regression coefficients
Getting Regression
Coefficients
POA front
POA
rear
Method 1
Method 2
MEASURED DATA
Regression
Reporting Conditions
POA front
POA
rear
Method 1
Method 2
Reporting Conditions
METHOD ONE FOR ASTM
METHOD ONE FOR IEC MAYBE PVSYST??
Result Expected
Result Measured
Performance
Mod Temp
POA Grear
POA Grear
POA front
Notes: Method 1 Assumes albedo is same when you generate regression for expected and regression for measured conditions
Method 1 considers albedo is same when you generate regression for expected and regression for measured conditions by filtering for albedo inputs
Model output for POA rear – that is part of the regression. When you have

## Slide 17
Go back to bar chart,
Biggest variation from sam 00 ~  run that

## Slide 18
DNI
DHI
GHI
Albedo Data (GHI + GRI)
Performance
SAM MODEL OUTPUTS:
MEASURED DATA
POA front
POA
rear
Regression
Performance
HYDRA
Regression
Method 1
Method ‘2’
Method ‘2’
Getting Regression coefficients
Getting Regression
Coefficients
Method 4
MEASURED DATA
Regression
Reporting Conditions
Method 1
Regression
Reporting Conditions
METHOD TWO FOR ASTM
METHOD TWO FOR IEC
HYDRA
HYDRA

## Slide 19
Predicted vs expected last week
Expected vs measured
ASTM regression….
Regression on model side, regression on measured side, select equivalent reporting conditions and do comparison. Comparison every week.

## Slide 20
SIM 00

## Slide 21
Modeling from measured
DNI and DHI
Modeling from measured POA

## Slide 22
SIM P00

## Slide 23
Chart: MBD Power Row 2


Chart: MBD Power Row 9
| S03 | S07 | S05 | S04 | W01 | A04 | S01 | S02 | W03 | W02 | T02 | 0 | T01 | A01 | A02 | T03 | T04 | A03
MBD_power9 | -7.9219 | -3.4572 | -3.4336 | -3.0868 | -2.6721 | -2.6449 | -2.6213 | -2.2279 | -2.2279 | -2.2148 | -2.2146 | -2.2099 | -2.2081 | -2.2062 | -2.2024 | -2.1559 | -1.9559 | -1.1582
MEDIAN | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214 | -2.2214
Chart: MBD Power Row 8
| S03 | S07 | S05 | S04 | W01 | S02 | S01 | W03 | W02 | T02 | A04 | 0 | A01 | A02 | T01 | A03 | T03 | T04
MBD_power8 | 4.8216 | 8.8371 | 8.8866 | 9.26 | 9.6811 | 9.731 | 9.7525 | 9.9035 | 9.9311 | 10.1227 | 10.1344 | 10.1431 | 10.1486 | 10.1623 | 10.1945 | 10.1953 | 10.3719 | 10.3719
MEDIAN | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269 | 10.0269
Chart: MBD Power Row 4
| S03 | S07 | S05 | S04 | A04 | S01 | W01 | S02 | W03 | W02 | T02 | 0 | T01 | A01 | T03 | T04 | A02 | A03
MBD_power4 | 1.633 | 5.1985 | 5.2151 | 5.5842 | 5.9538 | 5.9817 | 5.9835 | 5.9899 | 6.1601 | 6.1898 | 6.3071 | 6.3665 | 6.4002 | 6.4161 | 6.5524 | 6.5524 | 6.598 | 7.2869
MEDIAN | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749 | 6.1749